## 📋 How to Use
📋 HOW TO USE: Pool Deck Estimate
ABOUT THIS TEMPLATE
Professional pool deck estimate with decorative finish options, cool deck coating, color hardener, expansion joints, and sealer. Includes demo, grading, forming, pour, and coating application.
STEP-BY-STEP INSTRUCTIONS
1. | Measure exact pool deck area — freeform pools are tricky, walk the perimeter
2. | Confirm color and finish with client before ordering materials
3. | Check if cool deck coating or stamped pattern is preferred
4. | Verify local codes for slip resistance near pool edges
5. | Include expansion gap at pool coping (required to prevent cracking)
6. | Price demo of old deck separately — material disposal adds cost
7. | Allow extra time for cool deck coating — it's labor intensive
8. | Set overhead and profit margins in the yellow cells
9. | Use the Change Order sheet for any mid-project scope changes
10. | Get written finish and color approval before starting
11.
12. | 💡 POOL DECK PRO TIPS:
13. | • Always leave a 1/2" expansion joint where deck meets pool coping — no exceptions
14. | • Cool deck coating is hot in summer. Offer it as an upgrade — homeowners will pay extra
15. | • Slope away from pool (1/8" per foot) for drainage — code requirement in most states
16. | • Stamp pattern around pool edges takes 2x the time — price accordingly
🟡 YELLOW CELLS = Editable (enter your data here)
📊 CELLS WITH FORMULAS (don't overwrite): Column E (Total) in Materials/Labor/Equipment sections, and all PROJECT SUMMARY cells
✏️ EDITABLE CELLS: Yellow cells: quantities, unit prices, hours, rates, client info, overhead %, profit %
💡 PRO TIPS — INSIDER KNOWLEDGE
💡 Pool decks have the highest liability of any residential concrete job. Photo everything before and after
💡 Upsell cool deck coating — it's $400-$800 in materials and labor but adds $1,500-$2,500 to the ticket. Homeowners love it
💡 Non-slip sealer is non-negotiable near water. If you skip it and someone slips, you're liable
💡 Freeform pools are 20-30% harder to form than rectangular. Add a 20% labor premium for curved decks
💡 Always measure the actual perimeter after demo — pool shapes rarely match blueprints exactly
TIPS FOR PRINTING / PDF EXPORT
• File > Print or Ctrl+P to print
• Set to 'Fit Sheet on One Page' for best results
• Use 'Portrait' orientation for estimates and contracts
• Use 'Landscape' for pricing matrices and marketing plans
• To save as PDF: File > Save As > PDF format
• Print Preview first to check margins and page breaks
🔗 MORE FREE TOOLS: https://estimateconcrete.com
Free concrete calculators, estimating guides, and contractor resources

## Estimate
[YOUR COMPANY NAME]
[Address] • [Phone] • [Email] • [License #]
POOL DECK ESTIMATE
Date: | March 8, 2026 |  | Valid for: | 30 days
CLIENT INFORMATION
Name: | [Client Name]
Phone: | [Client Phone]
Email: | [Client Email]
Project Address: | [Project Address]
MATERIALS | Qty | Unit | Unit Price | Total
Description | Qty | Unit | Unit Price | Total
Concrete (ready-mix 4000 PSI) | 14 | CY | 155
Color hardener (integral or broadcast) | 150 | LB | 0.85
Cool deck coating | 10 | Gal | 55
Expansion joint material | 120 | LF | 2.75
Gravel base (4" depth) | 10 | Tons | 35
Wire mesh (6x6 W2.9) | 900 | SF | 0.45
Form lumber & stakes | 1 | Lot | 450
Sealer (non-slip acrylic) | 12 | Gal | 38
Materials Subtotal
LABOR | Hours |  | Rate | Total
Description | Hours |  | Rate ($/hr) | Total
Demo existing deck surface | 16 |  | 55
Grading & compaction | 10 |  | 55
Formwork installation | 12 |  | 55
Concrete pour & finishing | 16 |  | 65
Color hardener application | 6 |  | 65
Cool deck coating application | 8 |  | 60
Sealer application (2 coats) | 6 |  | 50
Cleanup & debris removal | 6 |  | 45
Labor Subtotal
EQUIPMENT | Qty | Unit | Price | Total
Description | Qty | Unit | Price | Total
Skid steer / bobcat | 1 | Day | 350
Plate compactor | 1 | Day | 125
Power trowel | 1 | Day | 150
Sprayer (cool deck coating) | 1 | Day | 85
Mobilization | 1 | Trip | 300
Equipment Subtotal
PROJECT-SPECIFIC OPTIONS
Coping / bullnose edge (per LF)
Broom vs. trowel finish selection
Stamped concrete sections (per SF)
Drain installation or repositioning
Waterline tile coordination
Step nosing / coping integration
Second cool deck coat (per SF)
Anti-slip grit additive (per coat)
Options Subtotal
PROJECT SUMMARY
Materials Total
Labor Total
Equipment Total
Options Total
SUBTOTAL
Overhead %: | 10%
Profit Margin %: | 15%
GRAND TOTAL
SITE CONDITIONS CHECKLIST
☐ Pool shape complexity (freeform vs. rectangular)
☐ Existing deck removal needed (Y/N)
☐ Access for skid steer / equipment
☐ Underground pool plumbing locations
☐ Coping or tile interface requirements
☐ Drainage slope and direction
☐ Expansion gap to pool coping (required)
☐ Safety code requirements (slip resistance, no-slip zones)
SCOPE EXCLUSIONS (Not Included)
✗ Pool plumbing or equipment
✗ Coping installation (if separate contractor)
✗ Pool tile installation
✗ Landscaping or grass restoration
✗ Permits and inspection fees
✗ Underwater lighting or electrical
✗ Future sealer reapplication (maintenance item)
CHANGE ORDERS
Change Description | Add/Remove |  | Cost Impact | Approved (Y/N)
WARRANTY INFORMATION
1-YEAR WORKMANSHIP WARRANTY: Contractor warrants all work for 12 months from completion date.
Warranty covers: structural cracking >1/4", coating delamination, improper slope/drainage.
Warranty does NOT cover: cool deck fading (UV exposure), sealer wear, chemical damage from pool water,
hairline/shrinkage cracks, staining, or color variation.
COOL DECK CARE: Avoid pool chemicals on deck surface. Rinse pool splash with water immediately.
SLIP RESISTANCE: Non-slip sealer and cool deck coating are required near pool edges per most codes.
SEALER MAINTENANCE: Reapply every 2-3 years. Non-slip additive must be included each time.
PAYMENT TERMS
• 50% deposit upon acceptance of this estimate
• 40% upon completion of concrete pour
• 10% final payment after client walkthrough
TERMS & CONDITIONS
This estimate is valid for 30 days. Pricing based on current material costs and may adjust if costs change significantly.
Client responsible for permits. Work area must be accessible for concrete trucks. 1-year workmanship warranty.
Client Signature: ________________________ Date: ________
Contractor Signature: ________________________ Date: ________
Template from EstimateConcrete.com — Free concrete contractor tools
Note on B62: Enter your overhead percentage (e.g. 10%, 12%, 15%). This covers insurance, office, vehicle, phone, etc.
Note on B63: Enter your desired profit margin. 15-25% is typical for residential. 20-30% for decorative/specialty work.

## 📍 Site Conditions
📍 SITE CONDITIONS ASSESSMENT
Complete during site visit. Accurate assessment prevents costly surprises on pour day.
Project Address:
Site Visit Date: |  | Assessed By:
# | Condition / Check Item | Status | Notes / Details | Photo Ref # | Action Needed
1 | Truck access width (min 10' wide, 13' overhead)
2 | Ground conditions — can trucks drive on site?
3 | Underground utilities located and marked (call 811)
4 | Water source available on site
5 | Existing structures/surfaces to protect
6 | Drainage pattern — where does water flow?
7 | Soil type (clay / sand / rock / fill)
8 | Grade / slope measurements taken
9 | Property line / setback distances confirmed
10 | Permits required (check local code office)
11 | Pool shape complexity (freeform vs. rectangular)
12 | Existing deck removal needed (Y/N)
13 | Access for skid steer / equipment
14 | Underground pool plumbing locations
15 | Coping or tile interface requirements
16 | Drainage slope and direction
17 | Expansion gap to pool coping (required)
18 | Safety code requirements (slip resistance, no-slip zones)
📸 SITE PHOTO LOG
Photo # | Description / Location | Direction | Purpose | File Name | Notes
1 | Overall site — wide angle |  | Before condition
2 | Truck access point |  | Access verification
3 | Work area — existing surface |  | Before condition
4 | Drainage / water flow |  | Drainage planning
5 | Adjacent structures |  | Protection planning
6 | Utility markings |  | Utility locations
7 | Soil condition |  | Soil assessment
8 | Grade / slope |  | Grading reference
9 | Property boundaries |  | Permit reference
10 | Obstacles / challenges |  | Planning
11
12
13
14
15
OVERALL SITE ASSESSMENT:

## Change Order
CHANGE ORDER LOG
Track all mid-project scope changes. Get client approval before proceeding with any change.
Project: |  |  | Original Contract:
# | Description of Change | Added Cost | Client Approval Date | Notes | Status
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
TOTAL CHANGE ORDERS
Revised Contract Total: